## Daily Calibration
Janurary | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
February | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Pass
March | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
April | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Pass
May | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
June | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Pass
July | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
August | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
September | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Pass
October | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
November | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Pass
December | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Pass
Linearity Calibration 2022 - Tick each day calibration performed

## Bio QC normal range calc
Name (BioQC 1) |  |  |  | Name (BioQC 2)
Age |  |  |  | Age
Height |  |  |  | Height
# | Date | FVC | FEV1 | # | Date | FVC | FEV1
1 |  |  |  | 1
2 |  |  |  | 2
3 |  |  |  | 3
4 |  |  |  | 4
5 |  |  |  | 5
6 |  |  |  | 6
7 |  |  |  | 7
8 |  |  |  | 8
9 |  |  |  | 9
10 |  |  |  | 10
11 |  |  |  | 11
12 |  |  |  | 12
13 |  |  |  | 13
14 |  |  |  | 14
15 |  |  |  | 15
16 |  |  |  | 16
17 |  |  |  | 17
18 |  |  |  | 18
19 |  |  |  | 19
20 |  |  |  | 20
(MEAN)Average |  | #DIV/0! | #DIV/0! | (MEAN)Average |  | #DIV/0! | #DIV/0!
Standard Deviation (SD) |  | #DIV/0! | #DIV/0! | Standard Deviation (SD) |  | #DIV/0! | #DIV/0!
(MIN)Mean minus 2 SD |  | #DIV/0! | #DIV/0! | (MIN)Mean minus 2 SD |  | #DIV/0! | #DIV/0!
(MAX)Mean plus 2 SD |  | #DIV/0! | #DIV/0! | (MAX)Mean plus 2 SD |  | #DIV/0! | #DIV/0!
Coefficient of Variation (CV) |  | #DIV/0! | #DIV/0! | Coefficient of Variation (CV) |  | #DIV/0! | #DIV/0!
Do not enter data in yellow shaded areas. These fill in automatically.
If you have difficulty keeping your CV <5% then you may not be a suitable candidate for the Bio QC role.

## Bio QC 1
BioQC 1
| BioQC Range | MIN (mean minus 2SD) | Average/Mean | MAX (mean plus 2 SD)
FEV1
FVC
| Date | FEV1 | FVC | Within Range? | Comments
Jan
Feb
March
April
May
June
July
August
September
October
November
December

## Bio QC 2
BioQC 1
| BioQC Range | MIN (mean minus 2SD) | Average/Mean | MAX (mean plus 2 SD)
FEV1
FVC
| Date | FEV1 | FVC | Within Range? | Comments
Jan
Feb
March
April
May
June
July
August
September
October
November
December

## Annual Syringe Check
Place your annual syringe check certificates here

## Preventive Checks
Preventive Maintenance
|  | Frequency | Jan |  |  |  | Feb |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  | June
| 2021 |  | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
| Inspect flow sensor for cracks | Weekly
| Inspect flow sensor housing for cracks/general wear and tear | Weekly
| Inspect flow sensor for contamination | Weekly
| Electrical Cables | Monthly
| Software Updates | Quarterly
| Hardward Changes | As Required
|  | Frequency | Jan 1: July; Feb 1: August; March 1: September; April 1: October; May 1: November; June 1: December
| 2021 |  | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
| Inspect flow sensor for cracks | Weekly
| Inspect flow sensor housingfor cracks/general wear and tear | Weekly
| Inspect flow sensor for contamination | Weekly
| Electrical Cables | Monthly
| Software Updates | Quarterly
| Hardward Changes | As Required

## Instructions if out of range
Measures to take for out of range QC
Below are actions to take if your spirometer checks exceeds limits
• | Repeat Calibration measurement
• | Check ambient settings
• | Use different syringe/ check on another system
• | Replace flow sensor
• | Check all component parts, leaks, damage etc
• | Call supplier for further instructions
MOST IMPORTANTLY REMEMBER NEVER USE A SPIROMETER ON A SUBJECT IF IT FAILS ANY OF THE
QC CHECKS WITHOUT DETERMINING THE PROBLEM.TO DO SO WILL MOST LIKELY LEAD TO ERRONEOUS RESULTS
Potential Reasons for Calibration/ Vertification Error
• | A slight change in spirometer function that requires subsequent recalibration procedure to adjust the calibration factor
• | A leak in the connection of the spirometer to the calibration syringe
• | Air flow through the spirometer during the zero flow setting procedure
• | Failure to fully fill and empty the calibration syringe in one smooth action
• | Calibration syringe malfunction (e.g., piston leak or displacement of the piston stop or syringe damaged by dropping)
• | Spirometer blockage either by debris in the spirometer sensor or by the operator’s hand while holding the spirometer in place
• | Improper assembly of the sensor, mouthpiece, filter, and/or breathing tube
• | Differences between room temperature and calibration syringe temperature
• | Data entry errors in the ambient temperature and/or pressure
(Table from Standardisation of Spirometry - ERS - 2019)